## Data dictionary
SQL Databases - tables description
Variable
Geography | SQL table | New SQL table name | SQL Variable Name | New SQL Variable name | Variable | Definition | Unit of measure | Frequency | Period | Type | URL scraped
New Brunswick | nb_realtime_alldata_new_brunswick_utc | hfed_nb_5min_allvar | nb_load | load | Load | The average total load in New Brunswick. This is calculated as the NB_DEMAND value minus estimated Transmission losses.(source: Gwen Harding) | MW | 5 min | 4-5 last months | Integer | https://tso.nbpower.com/Public/en/SystemInformation_realtime.asp
|  |  | nb_demand | demand | Demand | The average total demand for energy in New Brunswick (source: Gwen Harding) | MW | 5 min |  | Integer
|  |  | ISO_NE | interchange_sheduled_ISO | Net scheduled interchange with New England | The average energy flow going to or from interfaces with ISO New England (source: Gwen Harding) | MW | 5 min |  | Integer
|  |  | EMEC | interchange_scheduled_EMEC | Net scheduled interchange with Eastern Maine Electric Cooperative | The average energy flow going to or from interfaces with EMEC | MW | 5 min |  | Integer
|  |  | MPS | interchange_scheduled_MPS | Net scheduled interchange with Maine Public Service | The average energy flow going to or from interfaces with Maine Public Service | MW | 5 min |  | Integer
|  |  | quebec | interchange_scheduled_Quebec | Net scheduled interchange with Quebec | The average energy flow going to or from interfaces with Hydro Quebec. (source: Gwen Harding) | MW | 5 min |  | Integer
|  |  | nova_scotia | Interchange_scheduled_NS | Net scheduled interchange with Nova Scotia | The average energy flow going to or from interfaces with Nova Scotia (source: Gwen Harding) | MW | 5 min |  | Integer
|  |  | pei | interchange_scheduled_PEI | Net scheduled interchange with PEI | The average energy flow going to or from interfaces with PEI (source: Gwen Harding) | MW | 5 min |  | Integer
|  |  | min_10_reserve_margin | reserve_nonspinning_10min | Non-spinning Reserve | Generation and responsive load that is off-line but can be fully responsive within ten minutes | MW | 5 min |  | Integer
|  |  | min_10_spinning_reserve_margin | reserve_spinning_10min | Spinning Reserve | Generation and responsive load that is on-line, begins responding immediately, and is fully responsive within ten minutes. | MW | 5 min |  | Integer
|  |  | min_30_reserve_margin | reserve_nonspinning_30min | Non-spinning Reserve | Generation and responsive load that is off-line but can be fully responsive within thirty minutes | MW | 5 min |  | Integer
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
Newfoundland & Labrador | NFL_rt_load | hfed_nfl_5min_load | Net_Load_MW | demand | Generation or Demand | Current System Generation = Current Demand on the system | MW | 5 min | 4 last months | Float | https://nlhydro.com/system-information/supply-and-demand/
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
Nova Scotia | ns_realtime_load_novascotia_utc | hfed_ns_5min_load | Net_Load |  | Load | LOAD | MW | 5 min | 5 last months | Float | https://resourcesprd-nspower.aws.silvertech.net/oasis/current_report.shtml
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| ns_realtime_trade_novascotia_utc | hfed_ns_5min_trade | Highlands_Export | export_sheduled_Highlands | Net scheduled interchange with Highlands | The average energy flow going to or from interfaces with Highlands |  | 5 min | 5 last months | Float
|  |  | East_End_Export_At_Sydney | export_sheduled_East_End_Sydney | Net scheduled interchange with East End Export At Sydney | The average energy flow going to or from interfaces with East End Export at Sydney |  |  |  | Float
|  |  | East_End_Export_At_East_Bay | export_sheduled_East_End_Bay | Net scheduled interchange with East End Export At East Bay | The average energy flow going to or from interfaces with East End Export at East Bay |  |  |  | Float
|  |  | Cape_Breton_Export | export_sheduled_Cape_Breton | Net scheduled interchange with Cape Breton | The average energy flow going to or from interfaces with Cape Breton |  |  |  | Float
|  |  | Onslow_Import | import_sheduled_Onslow | Net scheduled interchange with Onslow | The average energy flow going to or from interfaces with Onslow |  |  |  | Float
|  |  | NS_Export | export_sheduled_NS | Net scheduled interchange with NS | The average energy flow going to or from interfaces with NS |  |  |  | Float
|  |  | Onslow_South | interchange_scheduled_Onslow_S | Net scheduled interchange with Onslow South | The average energy flow going to or from interfaces with Onslow South |  |  |  | Float
|  |  | Flow_Into_Metro | interchange_scheduled_Metro | Net scheduled interchange with Metro | The average energy flow going to or from interfaces with Metro |  |  |  | Float
|  |  | Western_Import | import_sheduled_Western | Net scheduled interchange with Western | The average energy flow going to or from interfaces with Western |  |  |  | Float
|  |  | Valley_Import | import_sheduled_Valley | Net scheduled interchange with Valley | The average energy flow going to or from interfaces with Valley |  |  |  | Float
|  |  | Maritime_Link_Import | import_sheduled_Maritime | Net scheduled interchange with Maritime Link | The average energy flow going to or from interfaces with Maritime Link |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
PEI |  |  | on_island_load | load | Load | Total On-Island Load is the amount of electricity required to power lights, motors, appliances and other users of electric energy in PEI. | MW | 15 min | Since Nov 2012 | Float | https://energy.reinvented.net/archive/index.php
|  |  | on_island_wind | generation_wind | Wind Generation | Total On-Island Wind Generated is the amount of electricity being generated from all wind facilities in the province | MW | 15 min |  | Float
|  |  | on_island_fossil | generation_fossil | Fossil Fuel Generation | Total On-Island Fossil Fueled Generation is the amount of electricity being generated from oil fired equipment. Typically, this generation is only required when there is an interruption of supply from off Island. | MW | 15 min |  | Float
|  |  | wind_local | demand_wind | Wind Demand | Wind Power Used On-Island includes only that portion of the Total Wind Generated that is being used to meet purchase agreements of the province’s two electrical utilities, Maritime Electric Company, Limited (MECL) and City of Summerside Electric Utility. | MW | 15 min |  | Float
|  |  | wind_export | export_wind | Actual Interchange | Wind Power Exported Off-Island is that portion of wind generation that is supplying contracts elsewhere. The actual electricity from this portion of wind generation may stay within PEI but is satisfying a contractual arrangement in another jurisdiction. | MW | 15 min |  | Float
|  |  | percentage_wind |  |  | https://www.princeedwardisland.ca/en/feature/pei-wind-energy#/service/WindEnergy/WindEnergy |  | 15 min |  | Float
|  |  | cables_import | import_cables | Actual Interchange | on-Island generation is supplemented by electricity that is delivered by the cables that connect us to the New Brunswick Power system | MW | 15 min |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
BC | bc_hourly_hist_demand | hfed_bc_hourly_load_hist | Balancing_Authority_Load | lowercasing | Load | The total amount of electricity being used at a given point in time by all consumers in a utility's service territory | MW | hourly | Published with 2 days delay. Data need to be refreshed! | Integer | https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/HourlyBALoad.xls
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| bc_daily_hist_demand | hfed_bc_daily_load_hist | Date | [6 empty] | Date | https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/DailyBALoad.xls
|  |  | Balancing_Authority_Load | lowercasing | Load | The total amount of electricity being used at a given point in time by all consumers in a utility's service territory | MW | daily |  | Integer
| bc_hist_trade_utc | hfed_bc_5min_trade_hist | BC_US_net_actual_flow |  | Net Actual interchange | The instantaneous net actual flow, Defined as: Control area interchange between Alberta and British Columbia, Saskatchewan and Montana - Defined as Import (-) or Export (+). The algebraic sum of all metered interchange over all interconnections between two physically Adjacent Balancing Authority Areas. |  | 5 min |  | Float | https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/balancing-authority-load-data/historical-transmission-data.html This does not seem to be the link scraped though
BC_AB_net_actual_flow
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| bc_test_table1 | hfed_bc_hourly_load | Balancing_Authority_Load | lowercasing
Date_Time_UTC
Local_timezone_offset
Daylight_offset
Date_time_local
| bc_test_table3 | hfed_bc_5min_trade | BC_US_net_actual_flow | Interchange_actual_US |  |  |  |  | Need to check the script - data in SQL database is available hourly but every 5 min in the URL scraped |  | https://www.bchydro.com/bctc/system_cms/actual_flow/data1.xls
|  |  | BC_AB_net_actual_flow | Interchange_actual_AB
Date_Time_UTC
Local_timezone_offset
Daylight_offset
Date_time_local
Ontario | Ontario_Load_RTED | hfed_on_5min_allvar | total_energy | total_energy | Total energy dispatched into the IESO-controlled grid, calculated as Ontario generation plus imports |  |  | 5 min | Since June 13, 2021 | Float | http://reports.ieso.ca/public/RealtimeConstTotals/
|  |  | total_loss | loss | Total losses in the IESO-controlled grid, calculated by the load flow |  |  |  |  | Float
|  |  | total_load | load | Total system load, calculated as Total Energy - Total Loss |  |  |  |  | Float
|  |  | total_dispached_load | dispatched_load | Total MW withdrawn from the IESO-controlled grid by dispatchable load, where the value represents the system-wide amount of dispatchable load that was dispatched down. For example, if the load is bidding 100 MW and gets dispatched down to 90 MW, then the Total Disp Load quantity is 10 MW |  |  |  |  | Float
|  |  | total_10min_spinning_res | reserve_spinninng_10min | [5 empty] | Float
|  |  | total_10min_non_spinning_res | reserve_nonspinning_10min | [5 empty] | Float
|  |  | total_30min_res | reserve_nonspinning_30min | [5 empty] | Float
|  |  | ontario_demand | demand | Total Ontario electricity demand, calculated as: Total Energy + Total Generation Without Offers -Total Exports +Total Off Market +/- Over/Under Generation Where: Total Energy: Total energy dispatched into the IESO controlled grid, calculated as Ontario generation plus imports Total Generation Without Offers: Total energy injected into the IESO controlled grid from generators that have not submitted offers |  |  |  |  | Float
|  |  | date_time_local | [6 empty] | Datetime
| on_hist_demand | hfed_on_hourly_demand_hist | Market_demand | market_demand | Market Demand | Market Demand (referred to as total energy in the 'Totals' reports below) represents the total energy that was supplied from the IESO-administered market. The IESO calculates total market demand by summing all output from generators registered in the market plus all scheduled imports to the province. It is also equal to the sum of all load supplied from the market plus exports from the province, plus all line losses incurred on the IESO-controlled grid. |  | hourly | 2021-01-01 till 3 weeks ago | Integer | http://reports.ieso.ca/public/Demand/PUB_Demand.csv
|  |  | Ontario_demand | demand | Total Ontario electricity demand, calculated as: Total Energy + Total Generation Without Offers -Total Exports +Total Off Market +/- Over/Under Generation Where: Total Energy: Total energy dispatched into the IESO controlled grid, calculated as Ontario generation plus imports Total Generation Without Offers: Total energy injected into the IESO controlled grid from generators that have not submitted offers (source: http://reports.ieso.ca/docrefs/helpfile/RealtimeConstTotals_h2.pdf) | Ontario demand represents the total energy that was supplied from the IESO-administered market for the sake of supplying load within Ontario. It is also equal to the sum of all loads within Ontario which is supplied from the market, plus all line losses incurred on the IESO-controlled grid. |  | hourly |  | Integer
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| on_hist_supply | hfed_on_hourly_supply_hist (currently data is daily need to fix the script) | Generator | generator | Generator name | generators, registered as market participants, with capacities of 20 megawatts (MW) or greater. |  | hourly (pb curently daily) | More recent data available - need to be updated | String | http://reports.ieso.ca/public/GenOutputCapabilityMonth/PUB_GenOutputCapabilityMonth.csv
|  |  | Fuel_type | fuel_type | Type of fuel: BIOFUEL, GAS, HYDRO, WIND, SOLAR, NUCLEAR |  |  |  |  | String
|  |  | Measurement |  | Type of measurement=Available Capacity (Confirm??) Capability Output Available Capacity Forecast | Output is the actual energy production of the unit or facility. The hourly output is the facility’s five-minute outputs averaged over an hour. Capability is the maximum potential output of the unit or facility under current conditions, which includes maximum unit derates and outages for that hour. In this report, Capability is provided for nuclear, hydro, gas, and biofuel generation (excluding wind and solar). Available Capacity is provided for wind and solar generation. It is the maximum potential output of the facility, minus derates and outages within the hour. This does not take into account the current availability of wind and sun (fuel) - which is reflected in the forecast. Forecasts are available for wind and solar generation and represent an estimated output for the facility. It is derived from the maximum output of the facility (installed capacity), minus outages and derates, and takes into account the forecasted availability of fuel (wind and sunlight). This value provides the best estimation of potential variable generation output. |  |  |  | String
|  |  | MW |  | Value measured - Available capacity ? |  | MW |  |  | Float
|  |  | Date |  | Day stamp (YEAR-MONTH-DAY), check for the time stamp?? |  |  |  |  | Date
| on _capability_by_fuel_type_and_generator (subset of on_hist_supply) |  | Generator |  |  |  |  | hourly | More recent data available - need to be updated | String
|  |  | Fuel_type | [6 empty] | String
|  |  | Measurement | [6 empty] | String
|  |  | MW | [6 empty] | Float
|  |  | Date | [6 empty] | Date
| on _output_by_fuel_type_and_generator (subset of on_hist_supply) |  | Generator |  |  |  |  | hourly | More recent data available - need to be updated | String
|  |  | Fuel_type | [6 empty] | String
|  |  | Measurement | [6 empty] | String
|  |  | MW | [6 empty] | Float
|  |  | Date | [6 empty] | Date
| on_hist_hoep | hfed_on_hourly_price_hist | Hour | hour |  |  |  | hourly | More recent data available - need to be updated | Integer | http://reports.ieso.ca/public/PriceHOEPPredispOR/PUB_PriceHOEPPredispOR.csv
|  |  | Price | price | Hourly Ontario Energy Price (HOEP) | The wholesale price of electricity is determined in the real-time market administered by the IESO. All electricity consumers in Ontario pay the wholesale price, also referred to as the commodity price, except for those who have entered into a retail contract. The IESO calculates the hourly Ontario energy price (HOEP), which is charged to large consumers that participate in the market, as well as local distribution companies (LDCs) who recover it from the subset of customers that pay the market price. The HOEP is the average of the twelve market clearing prices (MCP) set in each hour. A new MCP is set every five minutes. Averages are weighted by the amount of electricity used throughout the province within each hour. Below is the average weighted hourly price for the current and previous year. |  |  |  | Float
|  |  | Hour_1_Predispatch | forecast_price_1h | Forecasted price for one hour ahead |  |  |  |  | Float
|  |  | Hour_2_Predispatch | forecast_price_2h | Forecasted price for two hours ahead |  |  |  |  | Float
|  |  | Hour_3_Predispatch | forecast_price_3h | Forecasted price for three hours ahead |  |  |  |  | Float
|  |  | OR_10_Min_Sync | reserve_spinning_10min | Operating reserve for 10-minute synchronized (Spinning) | Generation and responsive load that is on-line, begins responding immediately, and is fully responsive within ten minutes. |  |  |  | Float
|  |  | OR_10_Min_non_Sync | reserve_nonspinning_10min | Operating reserve for 10-minute non-synchronized (Non-Spinning) | Generation and responsive load that is off-line but can be fully responsive within ten minutes |  |  |  | Float
|  |  | OR_30_Min | reserve_nonspinning_30min | Operating reserve for 30-minute (Non-Spinning) | Generation and responsive load that is off-line but can be fully responsive within thirty minutes |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| hist_zonal_demand | hfed_on_hourly_load_hist | Region | region | Region | There are 10 zones. Northwest Zone, Northeast Zone, Ottawa Zone, East Zone, Essa Zone, Toronto Zone, Southwest Zone, Bruce Zone, West Zone, Niagara Zone |  | hourly | More recent data available. | String | http://reports.ieso.ca/public/DemandZonal/PUB_DemandZonal.csv
|  |  | Load | load | Regional Load/Zonal Demand | The hourly zonal demand data provides the best representation of the hourly load shape of the 10 zones in Ontario. |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| on_hist_merged_hoep_load_supply (probably to delete??) |  | Price |  | When you click on the link for this, it is zonal demand and it does not have any of these variables. They are defined above. |  |  | hourly | More recent data available. | Float | ???
|  |  | Market_Demand | [6 empty] | Float
|  |  | Ontario_Demand | [6 empty] | Float
|  |  | Capability | [6 empty] | Float
|  |  | Output | [6 empty] | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| rt_hoep | hfed_on_hourly_price | Price | price | Hourly Ontario Energy Price (HOEP) | The wholesale price of electricity is determined in the real-time market administered by the IESO. All electricity consumers in Ontario pay the wholesale price, also referred to as the commodity price, except for those who have entered into a retail contract. The IESO calculates the hourly Ontario energy price (HOEP), which is charged to large consumers that participate in the market, as well as local distribution companies (LDCs) who recover it from the subset of customers that pay the market price. The HOEP is the average of the twelve market clearing prices (MCP) set in each hour. A new MCP is set every five minutes. Averages are weighted by the amount of electricity used throughout the province within each hour. Below is the average weighted hourly price for the current and previous year. |  | hourly | More recent data available. | Float | http://reports.ieso.ca/public/DispUnconsHOEP/PUB_DispUnconsHOEP.csv
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
Alberta | ab_hist_demand_utc_historical |  | Price |  | Pool Price | The pool price is the dollar cost of a megawatt hour of electricity at the end of a given hour that is paid to electricity generators for supplying electricity by retailers (such as your local service provider). |  | hourly |  | Float
|  |  | 30Ravg_$ | Price_30days_avg | 30-Day Rolling Average Pool Price | 30-Day Rolling Average Pool Price |  |  |  | Float
|  |  | AIL_Demand_MW | Load | Forecasted Load | Alberta Internal Load (AIL) Calculated total Alberta demand based on all telemetered Control Area Net Generation plus Net Actual Interchange. |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| ab_hourly_zonal_demand_hist_utc ?? |  | Calgary |  | Hourly Load and Generation for Calgary | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data, https://www.aeso.ca/assets/Uploads/Planning-Regions.pdf |  |  |  | Float | https://www.aeso.ca/assets/Uploads/Copy-of-Historical-Hourly-Aggregated-Load-Rate-DTS-and-Generation-Rate-STS-data.xlsx
|  |  | Central |  | Hourly Load and Generation for Central Region | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data |  |  |  | Float
|  |  | Edmonton |  | Hourly Load and Generation for Edmonton | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data |  |  |  | Float
|  |  | Northeast |  | Hourly Load and Generation for Northeast Region | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data |  |  |  | Float
|  |  | Northwest |  | Hourly Load and Generation for Northwest Region | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data |  |  |  | Float
|  |  | South |  | Hourly Load and Generation for South Region | historical hourly aggregated load (Rate Demand Transmission Service (DTS)) and generation (Rate Supply Transmission Service (STS)) MWh data |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
ab_hourly_poolprice_rted_utc ??
| ab_forecast_supply_demand (ab_test_3 ??) |  | Peak_Hour | forcast_peak_hour | Forecasted Peak Demand Hour |  |  |  |  | Float | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/1-6month.csv
|  |  | Total_Expected_Internal_Supply | internal_supply | Forecasted Supply/Generation | Total Expected Internal Supply: indicates the expected availability of intra-Alberta generation after taking into account scheduled outages and derates, less a factor for anticipated generating unit derates (300 MW), plus assumed wind output (145 MW). |  |  |  | Float | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/2-6month.csv
|  |  | Import_Capacity_From_BC_SK_And_MATL_MW | import_capacity | Expected Maximum Import Available Transfer Capability (ATC) | Import Capacity from BC, SK and MATL: indicates the expected maximum import available transfer capability (ATC) of the British Columbia, Saskatchewan and Montana interties, taking into account limitations caused by outages on the Alberta grid and system conditions in BC, Saskatchewan and Montana in which AB's Transmission Reliability Margin (TRM) is increased. Refer to ISO Rules, Part 200, Section 203.6 and Part 300, Section 303.1 for details of the intertie limits. Limitations to ATC caused by system conditions in BC, Saskatchewan and Montana are excluded. |  |  |  | Float | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/3-6month.csv
|  |  | AIL_Load + Operating_Reserves | load_plus_op_reserves | Load Plus Operating Reserves | AIL Load + Operating Reserves: indicates the peak forecast load (AIL) for each day (the peak hour), less load outages (refer to ISO Rule 306.3), less price responsive load (200 MW), less Demand Opportunity Service (20 MW), plus assumed Operating Reserve as per ARS BAL-002-WECC-AB-2. |  |  |  | Float | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/4-6month.csv
|  |  | Surplus | surplus | Surplus | Surplus: equals Total Expected Internal Supply plus Import Capacity from BC, SK and MATL less AIL Load + Operating Reserves. |  |  |  | Float
|  |  | Date | [6 empty] | Date
| ab_realtime_forecast_hourly_price |  | Forecast_Pool_Price | forecast_pool_price | Forecasted Pool Price | Forecasted 1 day in advance. The pool price is the dollar cost of a megawatt hour of electricity at the end of a given hour that is paid to electricity generators for supplying electricity by retailers (such as your local service provider). |  |  |  | Float | http://ets.aeso.ca/ets_web/ip/Market/Reports/ActualForecastWMRQHReportServlet
|  |  | Actual_Posted_Pool_Price | pool_price | Pool Price | The pool price is the dollar cost of a megawatt hour of electricity at the end of a given hour that is paid to electricity generators for supplying electricity by retailers (such as your local service provider). |  |  |  | Float
|  |  | Day_Ahead_Forecasted_AIL | forecast_load | Forecasted Load | Forecasted 1 day in advance. Alberta Internal Load (AIL) Calculated total Alberta demand based on all telemetered Control Area Net Generation plus Net Actual Interchange. |  |  |  | Float
|  |  | Actual_AIL | load | Load | Alberta Internal Load (AIL) Calculated total Alberta demand based on all telemetered Control Area Net Generation plus Net Actual Interchange. |  |  |  | Float
|  |  | Forecasted & Actual_AIL_Difference | difference_forecast_actual_load | Difference between Actual AIL and Forecasted | Difference between Forecasted Load and Actual Load |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
| ab_hist_demand_utc |  | Price |  | Pool Price | The pool price is the dollar cost of a megawatt hour of electricity at the end of a given hour that is paid to electricity generators for supplying electricity by retailers (such as your local service provider). |  |  |  | Float | http://ets.aeso.ca/ets_web/ip/Market/Reports/HistoricalPoolPriceReportServlet?beginDate=' + start_date + '&endDate=' + today + '&contentType=csv
|  |  | 30Ravg_$ | Price_30days_avg | 30-Day Rolling Average Pool Price | 30-Day Rolling Average Pool Price |  |  |  | Float
|  |  | AIL_Demand_MW | Load | Forecasted Load | Alberta Internal Load (AIL) Calculated total Alberta demand based on all telemetered Control Area Net Generation plus Net Actual Interchange. |  |  |  | Float
|  |  | Date_Time_UTC | [6 empty] | TimeStamp
|  |  | Local_timezone_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Date_time_local | [6 empty] | TimeStamp
Quebec | hfed_qb_hourly_production |  | total_production | generation | [5 empty] | Float | https://www.hydroquebec.com/data/documents-donnees/donnees-ouvertes/json/production.json
|  |  | hydraulic | [6 empty] | Float
|  |  | wind | [6 empty] | Float
|  |  | other | [6 empty] | Float
|  |  | solar | [6 empty] | Float
|  |  | thermal | [6 empty] | Float
|  |  | Date_time_local | [6 empty] | TimeStamp
|  |  | Date_Time_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Local_timezone_offset | [6 empty] | TimeStamp
| hfed_qb_quarterhour_demand |  | total_demand | demand | [5 empty] | Float | https://www.hydroquebec.com/data/documents-donnees/donnees-ouvertes/json/demande.json
|  |  | Date_time_local | [6 empty] | TimeStamp
|  |  | Date_Time_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Local_timezone_offset | [6 empty] | TimeStamp
| hfed_qb_hourly_allvar_hist |  | gross_generation_HQP | [6 empty] | Float | https://www.hydroquebec.com/data/documents-donnees/xls/suivi-2018-entente-globale-cadre-1mai2019.xlsx
|  |  | producer_consumption_HQP | [6 empty] | Float | https://www.hydroquebec.com/data/documents-donnees/xls/suivi-2019-entente-globale-cadre-mai2020.xlsx
|  |  | electricity_received_HQP | [6 empty] | Float | https://www.hydroquebec.com/data/documents-donnees/xls/suivi-2020-entente-globale-cadre-mai2021.xlsx
|  |  | consumption_loss_interruption | [6 empty] | Float
|  |  | load | [6 empty] | Float
|  |  | export | [6 empty] | Float
|  |  | consumption | [6 empty] | Float
|  |  | vol_nonheritage_supply | [6 empty] | Float
|  |  | electrivity_delivered_HQD | [6 empty] | Float
|  |  | total_consumption | [6 empty] | Float
|  |  | vol_excessofheritage_mobilized | [6 empty] | Float
|  |  | unitcost_excess | [6 empty] | Float
|  |  | cost_hourly | [6 empty] | Float
|  |  | cost | [6 empty] | Float
|  |  | Date_time_local | [6 empty] | TimeStamp
|  |  | Date_Time_offset | [6 empty] | Integer
|  |  | Daylight_offset | [6 empty] | Integer
|  |  | Local_timezone_offset | [6 empty] | TimeStamp

## URL_webscraped
Province | Data type | URL in webscraping script | Shema | URLs identified in Phase 1 specs but not part of the webscraping script | Other URL found not part of the webscraping script
New Brunswick | RT | https://tso.nbpower.com/Public/en/SystemInformation_realtime.asp | schema=StructType([ StructField('nb_load',IntegerType(),True), StructField('nb_demand',IntegerType(),True), StructField('ISO_NE',IntegerType(),True), StructField('EMEC',IntegerType(),True), StructField('MPS',IntegerType(),True), StructField('quebec',IntegerType(),True), StructField('nova_scotia',IntegerType(),True), StructField('pei',IntegerType(),True), StructField('min_10_reserve_margin',IntegerType(),True), StructField('min_10_spinning_reserve_margin',IntegerType(),True), StructField('min_30_reserve_margin',IntegerType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
https://tso.nbpower.com/Public/en/op/market/report_list.aspx?path=%5Cload%20forecast
| HIST |  |  |  | https://tso.nbpower.com/Public/en/system_information_archive.aspx
Newfoundland & Labrador | RT | https://nlhydro.com/system-information/supply-and-demand/ | schema=StructType([ StructField('Net_Load_MW',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',FloatType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) |  | http://www.pub.nl.ca/applications/IslandInterconnectedSystem/DemandStatusReports.htm
| HIST |  |  |  | http://www.pub.nl.ca/applications/IslandInterconnectedSystem/DemandStatusReports.htm
Nova Scotia | RT | https://resourcesprd-nspower.aws.silvertech.net/oasis/current_report.shtml | schema1=StructType([ StructField('Net_Load',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
schema2=StructType([ StructField('Highlands_Export',FloatType(),True), StructField('East_End_Export_At_Sydney',FloatType(),True), StructField('East_End_Export_At_East_Bay',FloatType(),True), StructField('Cape_Breton_Export',FloatType(),True), StructField('Onslow_Import',FloatType(),True), StructField('NS_Export',FloatType(),True), StructField('Onslow_South',FloatType(),True), StructField('Flow_Into_Metro',FloatType(),True), StructField('Western_Import',FloatType(),True), StructField('Valley_Import',FloatType(),True), StructField('Maritime_Link_Import',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True) ])
| HIST |  |  | https://www.nspower.ca/oasis/monthly-reports/hourly-total-net-nova-scotia-load | https://www.nspower.ca/oasis/monthly-reports
Ontario | RT/HIST | http://reports.ieso.ca/public/Demand/PUB_Demand.csv | schema_on_hist_demand=StructType([ StructField('Market_demand',IntegerType(),True), StructField('Ontario_demand',IntegerType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) | http://reports.ieso.ca/public/RealtimeConstTotals/
|  | http://reports.ieso.ca/public/GenOutputCapabilityMonth/PUB_GenOutputCapabilityMonth.csv | schema_on_hist_supply=StructType([ StructField('Generator',StringType(),True), StructField('Fuel_type',StringType(),True), StructField('Measurement',StringType(),True), StructField('MW',FloatType(),True), StructField('Date',DateType(),True), ]) | http://reports.ieso.ca/public/IntertieScheduleFlow/
|  |  | schema_on_output_fuel_type=StructType([ StructField('Generator',StringType(),True), StructField('Fuel_type',StringType(),True), StructField('Measurement',StringType(),True), StructField('MW',FloatType(),True), StructField('Date',DateType(),True), ]) | http://reports.ieso.ca/public/DAConstTotals/PUB_DAConstTotals.xml
|  |  | schema_on_capability_fuel_type=StructType([ StructField('Generator',StringType(),True), StructField('Fuel_type',StringType(),True), StructField('Measurement',StringType(),True), StructField('MW',FloatType(),True), StructField('Date',DateType(),True), ]) | http://reports.ieso.ca/public/GenOutputCapability/PUB_GenOutputCapability.xml
|  | http://reports.ieso.ca/public/PriceHOEPPredispOR/PUB_PriceHOEPPredispOR.csv | schema_on_hoep=StructType([ StructField('Hour',IntegerType(),True), StructField('Price',FloatType(),True), StructField('Hour_1_Predispatch',FloatType(),True), StructField('Hour_2_Predispatch',FloatType(),True), StructField('Hour_3_Predispatch',FloatType(),True), StructField('OR_10_Min_Sync',FloatType(),True), StructField('OR_10_Min_non_Sync',FloatType(),True), StructField('OR_30_Min',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) | http://reports.ieso.ca/public/RealtimeMktPrice/
|  | http://reports.ieso.ca/public/DemandZonal/PUB_DemandZonal.csv | schema_on_hist_zonal_demand=StructType([ StructField('Region',StringType(),True), StructField('Load',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
schema_on_merged_hoep=StructType([ StructField('Price',FloatType(),True), StructField('Market_Demand',FloatType(),True), StructField('Ontario_Demand',FloatType(),True), StructField('Capability',FloatType(),True), StructField('Output',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
|  | http://reports.ieso.ca/public/DispUnconsHOEP/PUB_DispUnconsHOEP.csv | schema_on_rt_hoep=StructType([ StructField('Price',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
| HIST |  |  | http://reports.ieso.ca/public/DemandZonal/
BC | RT | https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/HourlyBALoad.xls | schema_bc_hourly_hist_demand=StructType([ StructField('Balancing_Authority_Load',IntegerType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
|  | https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/DailyBALoad.xls | schema_bc_daily_hist_demand=StructType([ StructField('Date',DateType(),True), StructField('Balancing_Authority_Load',IntegerType(),True) ])
|  | https://www.bchydro.com/bctc/system_cms/actual_flow/data1.xls | schema_bc_interchange_trade=StructType([ StructField('BC_US_net_actual_flow',FloatType(),True), StructField('BC_AB_net_actual_flow',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) | https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/actual-flow-data.html
| HIST | https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/balancing-authority-load-data/historical-transmission-data.html
Alberta | RT/HIST | http://ets.aeso.ca/ets_web/ip/Market/Reports/HistoricalPoolPriceReportServlet?beginDate=' + start_date + '&endDate=' + today + '&contentType=csv | schema_ab_hist_demand=StructType([ StructField('Price_$',FloatType(),True), StructField('30Ravg_$',FloatType(),True), StructField('AIL_Demand_MW',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) |  | https://www.aeso.ca/market/market-updates/2021/new-fuel-type-additions-to-energy-trading-system-ets-reports/
|  | https://www.aeso.ca/assets/Uploads/Copy-of-Historical-Hourly-Aggregated-Load-Rate-DTS-and-Generation-Rate-STS-data.xlsx | schema_ab_hist_generation_zonal=StructType([ StructField('Calgary',FloatType(),True), StructField('Central',FloatType(),True), StructField('Edmonton',FloatType(),True), StructField('Northeast',FloatType(),True), StructField('Northwest',FloatType(),True), StructField('South',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ]) | https://www.aeso.ca/market/market-and-system-reporting/data-requests/historical-hourly-aggregated-load-rate-dts-and-generation-rate-sts-mwh-data/ | https://www.utilitynet.net/?fbclid=IwAR0fop7RJXdatN4GCVuElRqzkIv3AiceLz-s0_tMFuSysbCIsp6bgrBC4DE
|  | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/1-6month.csv | schema_ab_forecast_supply=StructType([ StructField('Peak_Hour',FloatType(),True), StructField('Total_Expected_Internal_Supply',FloatType(),True), StructField('Import_Capacity_From_BC_SK_And_MATL_MW',FloatType(),True), StructField('AIL_Load + Operating_Reserves',FloatType(),True), StructField('Surplus',FloatType(),True), StructField('Date',DateType(),True), ]) | http://ets.aeso.ca/
|  | http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/2-6month.csv |  | http://ets.aeso.ca/
http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/3-6month.csv
http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/4-6month.csv
|  | http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet | ??
|  | http://ets.aeso.ca/ets_web/ip/Market/Reports/ActualForecastWMRQHReportServlet | schema_ab_realtime_forecast_price=StructType([ StructField('Forecast_Pool_Price',FloatType(),True), StructField('Actual_Posted_Pool_Price',FloatType(),True), StructField('Day_Ahead_Forecasted_AIL',FloatType(),True), StructField('Actual_AIL',FloatType(),True), StructField('Forecasted & Actual_AIL_Difference',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])
| HIST | http://ets.aeso.ca/ets_web/ip/Market/Reports/HistoricalPoolPriceReportServlet
PEI | RT/HIST | https://energy.reinvented.net/archive/index.php | schema1=StructType([ StructField('on_island_load',FloatType(),True), StructField('on_island_wind',FloatType(),True), StructField('on_island_fossil',FloatType(),True), StructField('wind_local',FloatType(),True), StructField('wind_export',FloatType(),True), StructField('percentage_wind',FloatType(),True), StructField('cables_import',FloatType(),True), StructField('Date_Time_UTC',TimestampType(),True), StructField('Local_timezone_offset',IntegerType(),True), StructField('Daylight_offset',IntegerType(),True), StructField('Date_time_local',TimestampType(),True), ])

## Additional URLs for webscraping
Province | Priority | Rational | URL | Web scraping script done by
Ontario | High | Load data and Demand every 5 min. We are currently getting the Demand from http://reports.ieso.ca/public/Demand/PUB_Demand.csv but the data is aggregated in this file (hourly demand as opposed to Demand every 5 min) Moreover, this new link has more recent data | http://reports.ieso.ca/public/RealtimeConstTotals/
| Medium | Real time data, we are currently scraping http://reports.ieso.ca/public/GenOutputCapabilityMonth/PUB_GenOutputCapabilityMonth.csv Same variables gathered in a file for each month. We are not grabbing the most recent data | http://reports.ieso.ca/public/GenOutputCapability/PUB_GenOutputCapability.xml
| High | Real time price data | http://reports.ieso.ca/public/RealtimeMktPrice/
| Low | Interchange data (real time) | http://reports.ieso.ca/public/IntertieScheduleFlow/
| Low | Forecast data (This report provides a forecast of expected load, available energy, operating reserve requirements, and losses for each hour of the forecast period, as established by the DACE run. The following totals information is included in this report: • Total Energy • Total Loss • Total Load • Total Dispatchable Load • Total 10 minute spinning reserve • Total 10 minute non-spinning reserve • Total 30 reserve | http://reports.ieso.ca/docrefs/helpfile/DAConstTotals_h1.pdf

## EESD-Public Data list
Newfoundland: https://nlhydro.com/system-information/supply-and-demand/ Current Island System Generation Current system generation = current demand on the system Any generation from non-utility generators, including Star Lake, Rattle Brook, Corner Brook Pulp and Paper, and wind generation from the St. Lawrence and Fermeuse wind farms, is included in our Hydro System Generation. Daily Reports: Does not include the current day http://www.pub.nl.ca/applications/IslandInterconnectedSystem/DemandStatusReports.htm Example report http://www.pub.nl.ca/applications/IslandInterconnectedSystem/files/reports/2021/01/2021-01-01_NLH_Island%20Supply%20and%20Demand%20Report.pdf • Supply, Demand, Imports and Exports • Island interconnected Supply and Demand • Previous Day Actual Peak and Current Say Forecast Peak This link provides the peak data and date and time for the Island System NL Example file: http://www.pub.nl.ca/applications/IslandInterconnectedSystem/2019_02.php
Prince Edward Island https://www.princeedwardisland.ca/en/feature/pei-wind-energy#/home/WindEnergy/WindEnergy The five gauges presented below represent the total PEI electrical load, total on-Island generation (both from wind and fossil fuels), and the breakdown of how much wind energy is used locally and how much is exported off-Island. • Total On-Island Load: MW • Wind Power Used On Island: MW • Total On-Island Wind Generation: MW • Wind Power Exported Off Island: MW • Total On-Island Fossil Fuel Generation: MW https://energy.reinvented.net/archive/index.php This is a multi-year archive of load and generation data (since 2012) scraped from the province's Wind Energy page https://www.princeedwardisland.ca/en/feature/pei-wind-energy#/home/WindEnergy/WindEnergy It is updated every 15 minutes in ‘real time’. • updatetime • on-island-load • on-island-wind • on-island-fossil • wind-local • wind-export • percentage-wind • cables-import
Nova-Scotia: https://resourcesprd-nspower.aws.silvertech.net/oasis/current_report.shtml https://www.nspower.ca/oasis/system-reports-messages/daily-report Current System Conditions • Net Load • Highlands Export • East End Export (at Sydney) • East End Export (at East Bay) • Cape Breton Export • Onslow Import • NS Export • Onslow South • Flow Into Metro • Western Import • Valley Import • Maritime Link Import • Wind Generation • Plus, previous 5 day historic peak demand • Plus, 5 day load forecast
New-Brunswick: https://tso.nbpower.com/Public/en/SystemInformation_realtime.asp https://tso.nbpower.com/Public/en/op/market/report_list.aspx?path=\load%20forecast\hourly Net Scheduled Interchange NB Load NB Demand ISO-NE EMEC MPS QUEBEC NOVA SCOTIA PEI NB_DEMAND The average total demand for energy in New Brunswick NB_LOAD The average total load in New Brunswick. This is calculated as the NB_DEMAND value minus estimated Transmission losses. ISO_NE The average energy flow going to or from interfaces with ISO New England. NMISA The average energy flow going to or from interfaces with Northern Maine ISA. HYDRO_QUEBEC The average energy flow going to or from interfaces with Hydro Quebec. NOVA_SCOTIA The average energy flow going to or from interfaces with Nova Scotia. PEI The average energy flow going to or from interfaces with Prince Edward Island. Sign Convention: Positive schedule values indicate exports from New Brunswick. Negative schedule values indicate imports to New Brunswick. https://tso.nbpower.com/Public/en/op/market/data.aspx links to • System Info – hourly • System Info Archives – hourly • Outages • Load Forecast • Settlement • 10-year Transmission Plan • Transmission Planning Criteria Peak data files https://tso.nbpower.com/Public/en/op/market/data.aspx https://tso.nbpower.com/Public/en/system_information_archive.aspx (PREVIOUS MONTH AND BEYOND)
Ontario: http://reports.ieso.ca/public/Demand/ http://reports.ieso.ca/public/Demand/PUB_Demand.csv http://reports.ieso.ca/public/GenOutputCapabilityMonth/PUB_GenOutputCapabilityMonth.csv http://reports.ieso.ca/public/PriceHOEPPredispOR http://reports.ieso.ca/public/PriceHOEPPredispOR/PUB_PriceHOEPPredispOR.csv http://reports.ieso.ca/public/DemandZonal/PUB_DemandZonal.csv http://reports.ieso.ca/public/DispUnconsHOEP/PUB_DispUnconsHOEP.csv All RTED data is available
Saskatchewan: https://www.saskpower.com/Our-Power-Future/Our-Electricity/Electrical-System/System-Map System Load MW Additional information received by email (June 4, 2021) Hello Emmanuelle, CSV- unfortunately this option is not currently available as we are not tracking historical information only live data. While some business units are looking at the System Load feature on our website there are no plans at this time. The information is not real-time. It is updated relatively frequently throughout the day – anywhere from 5 to 15 minutes and is a general estimate of our current system load For example the system load at the bottom of our EIN is more accurate as it comes directly from GCC. In the future we have a whole new plan for display of system load, generation source, etc. but that is down the road. Thank-you and have a great day. Rose SaskPower p. 1-888-757-6937¦saskpower.com *************Original Message from Customer************* Request-Date=2021-05-27 Request-Time=14:41:13 Hi, I was wondering if the system load data on the following page https://www.saskpower.com/Our -Power-Future/Our-Electricity/Electrical-System/System-Map, was also available to the public in another format such as an Excel file or a csv file that could be accessed by Web scraping. Thanks
Alberta: http://ets.aeso.ca/ets_web/ip/Market/Reports/ link not functioning http://ets.aeso.ca/ current supply and demand – generation, fuel type, interchange https://www.aeso.ca/market/market-and-system-reporting/data-requests/historical-hourly-aggregated-load-rate-dts-and-generation-rate-sts-mwh-data https://www.aeso.ca/assets/Uploads/Copy-of-Historical-Hourly-Aggregated-Load-Rate-DTS-and-Generation-Rate-STS-data.xlsx http://ets.aeso.ca/Market/Reports/Manual/AiesGraphs/24_month_supply_and_demand.html http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/1-6month.csv http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/2-6month.csv http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/3-6month.csv http://ets.aeso.ca/Market/Reports/Manual/supply_and_demand/csvData/4-6month.csv http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet http://ets.aeso.ca/ets_web/ip/Market/Reports/ActualForecastWMRQHReportServlet http://ets.aeso.ca/ets_web/ip/Market/Reports/HistoricalPoolPriceReportServlet current supply and demand – generation, fuel type, interchange https://www.aeso.ca/market/market-and-system-reporting/ to select current and historical market reports – historical daily market report for previous day to select current supply and demand reports All RTED data is available
British-Colombia: https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/HourlyBALoad.xls https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/DailyBALoad.xls https://www.bchydro.com/bctc/system_cms/actual_flow/data1.xls • Load – hourly • Load - daily • BC to US every 5 minutes • BC to AB every 5 minutes Historical data annually . (previous month in the current year) https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/balancing-authority-load-data/historical-transmission-data.html
Yukon: https://yukonenergy.ca/energy-in-yukon/electricity-101/current-energy-consumption Current Consumption: Total Load MW – by hydro and thermal
Ontario: http://reports.ieso.ca/public/Demand/ http://reports.ieso.ca/public/Demand/PUB_Demand.csv http://reports.ieso.ca/public/GenOutputCapabilityMonth/PUB_GenOutputCapabilityMonth.csv http://reports.ieso.ca/public/PriceHOEPPredispOR http://reports.ieso.ca/public/PriceHOEPPredispOR/PUB_PriceHOEPPredispOR.csv http://reports.ieso.ca/public/DemandZonal/PUB_DemandZonal.csv http://reports.ieso.ca/public/DispUnconsHOEP/PUB_DispUnconsHOEP.csv All RTED data is available
Net Scheduled Interchange
NB Demand | ISO-NE | EMEC | MPS | QUEBEC | NOVA SCOTIA | PEI

## Phase 1 specs - Load historical
Province | Timeliness | Frequency | Source | Notes | Variable |  | Comments
Alberta | Published as requested | Hourly | AESO Data requests | “DTS” in the column “Rate” corresponds to load data. | LOAD (MW) from 2014-01-01 to 2019-01-01
Includes sub-province zonal data
Ontario | Published daily, for previous day | Hourly | IESO Hourly Zonal Demand Report | CSV files which contain sub-province zonal hourly load | Ontario DEMAND available in these files from 2003 till now. According to the glossary Demand = Total Energy + Total Generation Without Offers -Total Exports +Total Off Market +/- Over/Under Generation |  | The following link has one month historical data on LOAD http://reports.ieso.ca/public/RealtimeConstTotals/
British Columbia | Annual | Hourly | BC Hydro Historical Load | XLS format | Balancing Authority LOAD from 2001 till now
Nova Scotia | Published every month, with a 1 month lag | Hourly | NS Total Load | XLS format | LOAD (MW) from Oct 2012 till (current year and month minus 1 or 2 months)
New Brunswick | Published monthly | Hourly | NB Power System Information Archive | Access monthly data using web interface. Data is presented in web as .aspx but is organised as CSV. | NB_LOAD ( The average total load in New Brunswick. This is calculated as the NB_DEMAND value minus estimated Transmission losses.) from 2014 till now | NB_DEMAND: The average total demand for energy in New Brunswick ISO_NE:The average energy flow going to or from interfaces with ISO New England. NMISA: The average energy flow going to or from interfaces with Northern Maine ISA. HYDRO_QUEBEC: The average energy flow going to or from interfaces with Hydro Quebec. NOVA_SCOTIA: The average energy flow going to or from interfaces with Nova Scotia. PEI: The average energy flow going to or from interfaces with Prince Edward Island. | Here is the actual link to the archive : https://tso.nbpower.com/Public/en/system_information_archive.aspx
Newfoundland & Labrador | Released daily | Daily reports giving data by minute and daily peak | Newfoundland Labrador Hydro Reports | Graph presented in PDF report. | Supply, Demand, Export not LOAD |  | Data not available, just graphs
Need to contact Newfoundland Hydro to ask about availability of data underlying graph.

## Phase 1 specs -Public data list
VARIABLE | WEBSITE | DATA PROVIDERS | VARIABLE NAME
LOAD | http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet | AESO | Internal Load
| http://reports.ieso.ca/public/RealtimeConstTotals/ | IESO | Total Load
| https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/corporate/suppliers/transmission-system/balancing_authority_load_data/HourlyBALoad.xls | BC Hydro | Control area load
| https://www.princeedwardisland.ca/en/feature/pei-wind-energy#/ | PEI government | Total On-Island Load
LOAD historical | https://www.aeso.ca/market/market-and-system-reporting/data-requests/historical-hourly-aggregated-load-rate-dts-and-generation-rate-sts-mwh-data/ | AESO | Load
| http://reports.ieso.ca/public/DemandZonal/ | IESO | ?
| https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/balancing-authority-load-data/historical-transmission-data.html | BC Hydro | Load
| https://www.nspower.ca/oasis/monthly-reports/hourly-total-net-nova-scotia-load | NS power | Load (nb_load)
| https://tso.nbpower.com/Public/en/system_information_archive.aspx | NB power | Load
| http://www.pub.nl.ca/applications/IslandInterconnectedSystem/DemandStatusReports.htm | Newfound Land and Labrador - Board of Commissioner Utilities | ?
GENERATION | http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet | AESO | Total net generation
| http://reports.ieso.ca/public/GenOutputCapability/PUB_GenOutputCapability.xml | IESO | Generation ouput
| https://www.princeedwardisland.ca/en/feature/pei-wind-energy#/ | PEI government | Total On-Island Wind Generation
GENERATION historical | https://www.aeso.ca/market/market-and-system-reporting/data-requests/historical-hourly-aggregated-load-rate-dts-and-generation-rate-sts-mwh-data/ | AESO | Generation
| http://reports.ieso.ca/public/GenOutputbyFuelHourly/ | IESO | Generator ouput
SUPPLY & DEMAND FORECAST | http://ets.aeso.ca/Market/Reports/Manual/AiesGraphs/24_month_supply_and_demand.html | AESO | Forcasted (Load + Operating Reserves)
| http://ets.aeso.ca/ets_web/ip/Market/Reports/ActualForecastWMRQHReportServlet?beginDate=&endDate=&contentType=html | AESO | Forecasted Internal load
| http://reports.ieso.ca/public/DAConstTotals/PUB_DAConstTotals.xml | IESO | Forcasted total Load
| https://tso.nbpower.com/Public/en/op/market/report_list.aspx?path=%5Cload%20forecast | NB Power | Forcasted Load
INTERCHANGE | http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet | AESO | Net actual interchange
| http://reports.ieso.ca/public/IntertieScheduleFlow/ | IESO | ?
| https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/actual-flow-data.html | BC Hydro | Net scheduled interchange
| https://www.eia.gov/realtime_grid/?src=data#/data/table?end=20200106T07&start=20191230T12&dataTypes=0g&bas=001g000000gg1004 | EIA - US electric Operator | ?
INTERCHANGE historical | https://www.bchydro.com/energy-in-bc/operations/transmission/transmission-system/balancing-authority-load-data/historical-transmission-data.html | BC hydro | ?
| https://tso.nbpower.com/Public/en/system_information_archive.aspx | NB Power
| https://www.nspower.ca/oasis/monthly-reports | NS Power
PRICE | http://ets.aeso.ca/ | AESO
| http://ets.aeso.ca/ | AESO
| http://reports.ieso.ca/public/RealtimeMktPrice/ | IESO

## Phase 1 specs - Load RT
Province | Timeliness | Frequency | Source | Notes | Variables | [6 empty] | Glossary
Alberta | Every minute | Every minute | AESO Current Supply Demand Report | Web page format. | INTERNAL LOAD : means a number in MW: (i) that represents, in an hour, system load plus load served by an on-site generating unit or aggregated generating facility, including those within an industrial system and the City of Medicine Hat; and (ii) which the ISO, using SCADA data, calculates as the sum of the output of each generating unit and aggregated generating facility in Alberta and the Fort Nelson area in British Columbia, plus import volumes and minus export volumes. | Total Net Generation | Net Actual Interchange: means the sum of all metered interchange over all interconnections between the balancing authority areas of two (2) adjacent balancing authorities. | Net-To-Grid Generation | Contingency Reserve Required. Contengency reserve means the component of operating reserve used to recover the area control error in accordance with reliability standards. | Dispatched Contingency Reserve | Load Shed Service for Import (LSSi) - transmission system reliability product | https://www.aeso.ca/rules-standards-and-tariff/consolidated-authoritative-document-glossary/
Alberta Internal Load (AIL) found in top left summary box.
Ontario | Every 5 minutes | Every 5 minutes | IESO Real-time Constrained Totals | Available as CSV and XML, up to 12 different files for a given hour of a given day, updated at 5 minute intervals. | TOTAL LOAD: Total system load, calculated as Total Energy - Total Loss | DEMAND: Total Ontario electricity demand, calculated as: Total Energy + Total Generation Without Offers -Total Exports +Total Off Market +/- Over/Under Generation | TOTAL LOSS: Total losses in the IESO-controlled grid, calculated by the load flow | TOTAL DISP LOAD: Total MW withdrawn from the IESO-controlled grid by dispatchable load, where the value represents the system-wide amount of dispatchable load that was dispatched down. For example, if the load is bidding 100 MW and gets dispatched down to 90 MW, then the Total Disp Load quantity is 10 MW | TOTAL ENERGY: Total energy dispatched into the IESO-controlled grid, calculated as Ontario generation plus imports |  |  | http://reports.ieso.ca/docrefs/helpfile/RealtimeConstTotals_h2.pdf
BC Hydro | Published with 48-hours delay | Hourly | BC Hydro Current Hourly Load | XLS format | CONTROL AREA LOAD : The total amount of electricity being used at a given point in time by all consumers in a utility's service territory
New Brunswick | Every 5 minutes | Every 5 minutes | NB Power System Info | Web page format, load information found under “NB Load” | LOAD Value in Mw | DEMAND Value in Mw | Net Scheduled Interchange with ISO New England(ISO-NE), Eastern Maine Electric Cooperative (EMEC), MPS, QUEBEC, NOVA SCOTIA, PEI Value in Mw | Reserve Margins :10 Min Reserve Margin, 10 Min Spinning Reserve Margin, 30 Min Reserve Margin Value in Mw
Prince Edward Island | Every 15 minutes | Every 15 minutes | PEI Wind Energy | Data are available on web page, in text format, following “Total On-Island Load:” | TOTAL On-Island LOAD | Total On-Island Wind Generation (Mw) | Wind Power Used On Island | Wind Power Exported Off Island
Would need to be scraped, or ask province for datasource.

## Phase 1 specs - Generation
Province | Timeliness | Frequency | Source | Notes | Variable |  | Comments
Alberta | Every minute | Every minute | AESO Current Supply Demand Report | Data provided on the web interface, which automatically updates every minute, and does not provide previous minute or hour data. Will require frequent data scraping. Provides generation by source type, and generating facility | TOTAL NET GENERATION (TNG). Net generation also available broken down by source type and facility. | Net-to-grid GENERATION
Ontario | Hourly, immediately after the hour | Hourly | IESO Generators Output and Capability Report | XML files contains generation per source and generating facility for each hour of the day. | GENERATOR OUTPUT by source type and facility (Generator output = total hourly telemetered generation for all generation facilities with similar fuel type and max output capability of 20 MW and greater) | GENERATOR CAPABILITY by source type and facility (Generator capability = total hourly generation capability for all generation facilities with similar fuel type and maximum output capability of 20 MW and greater) | Data seems to be also available here http://reports.ieso.ca/public/GenOutputbyFuelHourly/
Prince Edward Island | Every 15 minutes | Every 15 minutes | PEI Wind Energy | Data are available on web page, in text format, following “Total On-Island Wind Generation:” Would need to be scraped, or ask province for data source. Note that in 2017, wind energy made up 98% of PEI’s electricity generation. | Total On-Island Wind Generation (Mw)

## Phase 1 specs - Generation hist
Province | Timeliness | Frequency | Source | Notes | Variables | Comments
Alberta | Published as requested, | Hourly | AESO Data requests | “STS” in the column “Rate” corresponds to generation data. | GENERATION Data from 2014 till now but broken down by sub-province zone (Calagary, Central, Edmonton, NorhEast, Northwest and South)
Includes sub-province zonal data CSV files which contain data in the format as requested. Significant data cleaning is required
Ontario | Published the day after, data available to 2014 | Hourly | IESO Generator Output by Fuel Type | XML format | GENERATOR OUTPUT hourly output levels for Ontario’s generators by fuel type. It is published at the end of business day and contains data from generators with capacities 20 MW or greater, registered with the IESO. Data from 2015 till now

## Phase 1 specs - Interchange RT
Interchange/trade (Real time)
Province | Timeliness | Frequency | Source | Notes | Variable |  |  | Comments
Alberta | Real-time | Every 2 minutes | AESO Interchange | Presented in the home page in real-time. | NET ACTUAL INTERCHANGE (MW) Control area interchange between Alberta and British Columbia, Saskatchewan and Montana - Defined as Import (-) or Export (+)
Ontario | Updated at the end of the each hour. | Hourly | IESO Interchange | XML files contains interchange/trade data for each hour of the day. | IMPORT | EXPORT | FLOW | Total import and export scheduled transactions and flows of energy between the IMO Controlled grid and each intertie zone
BC Hydro | Real-time | Every 5 minutes | BC Hydro Interchange | Interchange between Alberta and Washington. The indications are on the website. | Real-Time Net Scheduled Interchange (RNSI) RNSI is the transfer of energy on each of the BC-US and BC-Alberta interties. In the dataset, the variable TRANSVALUE reflects the RNSI value; a negative value indicates import while a positive value indicates export.
All Provinces | Hourly | Hourly | EIA U.S. Electric System Operating Data | Possible to obtain interchange as imports from Canada for U.S. balancing balancing authorities. EIA makes APIs available for each series of interest. |  |  |  | Cannot access the link - no permission.

## Phase 1 specs - Interchange his
Interchange/trade (Historical)
Province | Timeliness | Frequency | Source | Notes | Variable |  | Comments
BC Hydro | Available the next month. | Hourly | BC Hydro Interchange | Data are on CSV file. | TTC/ATC The Total Transfer Capability (TTC) for an interface is the best engineering estimate of the total amount of electric power that can be transferred over the interface in a reliable manner in a given time-frame. Available Transfer Capability (ATC) |  | Data on interchange split between the different balancing authorities BC is dealing with. How can we calculate a total interchange historical value?
NB Power | Available the next month. | Hourly | NB Power Interchange | CSV file contains hourly data and province of destination.
NS Power | Release after 3 months. | Hourly | NS Power | Monthly report can be retrieved in CSV. | Inertie TTC/ATC since oct 2012 | Hourly net Energy flow NS - NB INTERCONNECTION HOURLY TOTAL NET FLOWS CAPE BRETON EXPORT HOURLY NET ENERGY FLOWS ONSLOW SOUTH

## Phase 1 specs - Forecasted gene
Forecasted generation and demand
Province | Timeliness | Frequency | Source | Notes | Variable |  |  |  |  | Comments
Alberta | 24-months headed updated daily. | Daily | AESO 24 Month Supply and Demand Forecast | It is possible to download graph data via: CSV | Total Expected Internal Supply (MW) indicates the expected availability of intra-Alberta generation after taking into account scheduled outages and derates, less a factor for anticipated generating unit derates (300 MW), plus assumed wind output (145 MW). | Import Capacity from BC,SK and MATL (MW) indicates the expected maximum import available transfer capability (ATC) of the British Columbia, Saskatchewan and Montana interties, taking into account limitations caused by outages on the Alberta grid and system conditions in BC, Saskatchewan and Montana in which AB's Transmission Reliability Margin (TRM) is increased. Refer to ISO Rules, Part 200, Section 203.6 and Part 300, Section 303.1 for details of the intertie limits. Limitations to ATC caused by system conditions in BC, Saskatchewan and Montana are excluded. | AIL Load + Operating Reserves (MW) indicates the peak forecast load (AIL) for each day (the peak hour), less load outages (refer to ISO Rule 306.3), less price responsive load (200 MW), less Demand Opportunity Service (20 MW), plus assumed Operating Reserve as per ARS BAL-002-WECC-AB-2. | Surplus (MW) equals Total Expected Internal Supply plus Import Capacity from BC, SK and MATL less AIL Load + Operating Reserves.
Alberta | 24 hours ahead | Daily | AESO Actual / Forecast |  | Forecast Pool Price Actual Posted Pool Price | Day-Ahead Forecasted Alberta Internal load Actual Alberta Internal Load (AIL) Forecasted & Actual AIL Difference |  |  |  | This public report provides information on the Forecast and Actual Pool Price two hours ahead of the current hour, Actual Pool Prices for the current day and up to the current hour, Day-Ahead Forecasted AIL for the current day, actual Alberta Internal Load and the Forecasted & Actual AIL Difference
Ontario | Published 12 hours before the next day, forecast for the day ahead | Daily | IESO Day Ahead Constrained Totals | XML format, also includes | Total Energy Total energy dispatched in the system, including both internal and external (i.e., Internal Generation + Imports) | Total Load Total system load, calculated as TOTAL ENERGY – LOSSES | Total Loss Losses in the system, computed by the load flow | Total Dispatchable Load This is dispatchable load scheduled ‘OFF.’ For example, if the load is bidding 100 MW and gets dispatched to 90 MW, then 10 MW has been scheduled ‘OFF’. This number represents systemwide amount of dispatchable load that was dispatched down. | • Total 10 minute spinning reserve • Total 10 minute non-spinning reserve • Total 30 reserve
New Brunswick | Hourly, Daily | Hourly | NB Power Hourly and 5-Day Load Forecast |  | LOAD - hourly 5 days forecast

## Phase 1 specs - Pricing
Real-time/hourly historical pricing
Province | Timeliness | Frequency | Source | Notes
Alberta | Updated every hour. | Hourly | AESO-Pool Price Report | Under the Historical tab, the report can be selected at a specified format or date.
Alberta | Real-time | Every 5 minutes | AESO-System Marginal Price Report | Price presented in the home page in real-time.
Ontario | Real-time | Every 5 minutes | IESO-Realtime Market Price Report | Data are updated 12 times per hour. The definitive hourly value is the average of the 12 updated values.

## Variables definitions
Variable | Definition | Notes | source
Energy | Energy is the product of power supplied, multiplied by the length of time it is used. It is measured in kilowatt-hours (KWh). |  | https://www.nbpower.com/en/products-services/business/demand-and-energy/kwh-and-kw-demand/
Power | Power is the rate at which the electricity is consumed. It is expressed in watts (W) or kilowatts (1 KW = 1000 W). The maximum power recorded during a certain period of time is called demand. It is measured in “KW” (Active Power) and /or “KVA” (Apparent Power). Power =((Voltage*Current)/1000)*Power factor |  | https://www.nbpower.com/en/products-services/business/demand-and-energy/kwh-and-kw-demand/
Load | Load is the amount of electricity on the grid at any given time, as it makes its journey from the power source to all the homes, businesses and industries within a utility’s territory. Because electricity is something that can’t be stored and used later, it needs to be used once it is generated and live on the system or else it will go to waste. One way that utilities control product costs for their customers is to manage and adjust how much load is on the grid at any given time. They monitor both demand and load around the clock to make sure it’s the right amount to meet the real-time needs of the customer. | https://www.hydroquebec.com/business/customer-space/rates/glossary.html | https://blog.directenergy.com/what-is-electricity-load/
Demand | Electricity demand is measured in kilowatts (kW) and represents the rate at which electricity is consumed. Demand for electricity varies. It can change over the course of a day, a week or a year. | Understanding electricity use can be compared to driving a car. The rate at which you are consuming electricity (demand, or kW) is equivalent to the speed you are driving the car (mph). Your overall consumption (kWh) is similar to the total distance driven in the car (miles). Electricity consumption is dependent on how many hours your equipment was on - multiply demand by time in use and you get consumption. In a car, you calculate your total distance the same way - multiply the average speed by the number of hours driven | https://buildingos.com/about/library/blog/electricity-demand-vs-consumption
Consumption | Electricity consumption is measured in kilowatt-hours (kWh) and represents the amount of electricity that has been consumed over a certain time period. |  | https://buildingos.com/about/library/blog/electricity-demand-vs-consumption
Generation
Interchange | Energy transfers that cross Balancing Authority boundaries. |  | https://www.nerc.com/files/glossary_of_terms.pdf
Net scheduled interchange | The algebraic sum of all Interchange Schedules across a given path or between Balancing Authorities for a given period or instant in time. |  | https://www.nerc.com/files/glossary_of_terms.pdf
Reserve margins
Reserve spinning margin | Generation capacity that is on-line but unloaded and that can respond within 10 minutes to compensate for generation or transmission outage |  | https://energystorage.org/
LSSI (Alberta) | Load Shed Service for imports (LSSi) is a transmission system reliability product developed as part of our efforts to fulfill our intertie restoration obligation as mandated by legislation. LSSi is provided by load customers that agree to be quickly taken offline following the sudden loss of imports coming across the interties. This load shedding allows for arrest and recovery from frequency decay and preserves system stability. LSSi is used to manage frequency risk so import intertie capability can be increased, allowing additional scheduled imports to access the Alberta market without compromising system reliability |  | https://www.aeso.ca/market/ancillary-services/load-shed-service-for-imports/
Available Transfer Capability (ATC) | Available Transfer Capability (ATC) is a measure of the transfer capability remaining in the physical transmission network for further commercial activity over and above already committed uses. Mathematically, ATC is defined as the Total Transfer Capability (TTC) less the Transmission Reliability Margin (TRM), less the sum of existing transmission commitments (which includes retail customer service) and the Capacity Benefit Margin (CBM) |  | http://ece.iit.edu/~flueck/ece562/atcfinal.pdf
Total Transfer Capability (TTC) | Total Transfer Capability (TTC) is defined as the amount of electric power that can be transferred over the interconnected transmission network in a reliable manner while meeting all of a specific set of defined pre- and post-contingency system conditions. |  | http://ece.iit.edu/~flueck/ece562/atcfinal.pdf
Inertia | Inertia in power systems refers to the energy stored in large rotating generators and some industrial motors, which gives them the tendency to remain rotating. This stored energy can be particularly valuable when a large power plant fails, as it can temporarily make up for the power lost from the failed generator. This temporary response—which is typically available for a few seconds—allows the mechanical systems that control most power plants time to detect and respond to the failure. |  | https://www.nrel.gov/news/program/2020/inertia-and-the-power-grid-a-guide-without-the-spin.html
Transmission substation | A set of large transformers (devices that change the voltage of alternating current) increases the voltage coming from a generating plant for the long journey through the grid. Increasing the voltage improves transmission system efficiency and helps limit land use by decreasing the amount of towers and equipment needed |  | aeso
Transmission lines | Transmission is the backbone of the electrical system, moving power from where it is generated to where it is needed. A network of towers, poles, wires and transmission substations provide high availability as they move electricity to customers throughout the province |  | aeso
Distribution substation | Power lines enter a substation where a transformer reduces voltage to a level that can be safely delivered to customers |  | aeso
Distribution lines | Distribution lines carry electricity from a substation to homes, farms and businesses. These lower-voltage power lines are best for transporting electricity over short distances |  | aeso
Inerties | Connections with neighbouring electric systems allow power to move in or out of the province. Interties provide a stable and reliable supply of electricity. |  | aeso
Voltage | Voltage is the difference in electrical potential between two points. It is expressed in volts (V) . (Note: The term potential also means voltage) V = IR, where V is the potential difference, or voltage, I is the current, and R is the resistance of the conductor. |  | https://www.nbpower.com/en/products-services/business/demand-and-energy/kwh-and-kw-demand/
Current | Current is the quantity of electrons flowing through a wire in one second. It is expressed in amperes (A) and is a function of voltage in volts (V) and resistance in ohms. Current=Voltage/Resistance |  | https://www.nbpower.com/en/products-services/business/demand-and-energy/kwh-and-kw-demand/
Resistance | Resistance is a term that describes the forces that oppose the flow of electrons in a conductor. |  | https://www.nbpower.com/en/products-services/business/demand-and-energy/kwh-and-kw-demand/